## Slide 1: BMS 631 “Why the flow cytometer was developed” Flow Cytometry: Theory: Lecture 1 J. Paul Robinson Distinguished Professor of Cytometry Professor of Biomedical Engineering Colleges of Veterinary Medicine & Engineering Purdue University All materials used in this course are available for download on the web at
Lab, Lynn Hall, G221
Purdue University
Office: (765)-494 0757
email; Robinson(at)flowcyt.cyto.purdue.edu
WEB http://www.cyto.purdue.edu
Introduction
Course Requirements
Lecture Series: 2023
Last modified Jan 6, 2016
Notice: The materials in this presentation are copyrighted materials. If you want to use any of these slides, you may do so if you credit each slide with the author’s name. It is illegal to place these notes on CourseHero or any other site.
Link to Lecture page http://tinyurl.com/2wkpp

## Slide 2: Structure of this course
Lectures: The class consists primarily of lectures and lecture discussions with mini tutorials as necessary.
Practicals: There are no practical components to the 631 course. We will however, look at some instruments and instrument components to gain some perspectives.
Quizes: There is an end of term quiz take home quiz (65%).
Homework reading & attendance, and student Seminar: 35% of grade
Seminar: Each student must present a seminar at the conclusion of the course. This seminar must be discussed with the course director prior to preparation. This is worth 30% of the final grade and will be composed of attendance and presentation. You must give me an outline and discuss the seminar with me at least one week prior to presentation. You must provide me with a copy of the original PPT file. Only one student can present on any particular topic.

## Slide 3: Sources of information
Flow Cytometry and Sorting, 2nd ed. (M.R. Melamed, T. Lindmo, M.L. Mendelsohn, eds.), Wiley-Liss, New York, 1990 - referred to here as MLM
Flow Cytometry: Instrumentation and Data Analysis (M.A. Van Dilla, P.N. Dean, O.D. Laerum, M.R. Melamed, eds.), Academic Press, London, 1985 – referred to as VDLM
Practical Flow Cytometry 3nd edition (1994),4th Ed (2003) H. Shapiro: Alan R. Liss, New York - referred to as PFC
Introduction to Flow Cytometry. J. Watson, Cambridge Press, 1991 referred to as IFC
Methods in Cell Biology: v.40,41, 63, 64 Darzynkiewicz, Robinson & Crissman, Academic Press, 1994, 2000 MCB
Data Analysis in Flow Cytometry:A Dynamic Approach-Book on CDROM M. Ormerod referred to as DAFC
Flow Cytometry: First Principles. (2nd Ed) Alice Longobardi Givan, Wiley-Liss, 2001 referred to as AFCFP
More information on flow cytometry books can be found on our website at:
http://www.cyto.purdue.edu/flowcyt/books/bookindx.htm
Download PDF: https://www.beckman.com/resources/reading-material/ebooks/practical-flow-cytometry
Notes: Sources
This slide is intended to show students supplementary materials if they are interested in learning more about flow cytometry.

## Slide 4: Methods and Practical Assistance
For help with protocols there are several choices including the MCB references on the previous slide (Methods in Cell Biology)
The Handbook of Flow Cytometry Methods morphed into
Current Protocols in Cytometry which is the definitive work on cytometry protocols

## Slide 5: Reference Material
The course will use Shapiro:
Practical Flow Cytometry, 4nd edition (2003), Howard Shapiro, Wiley-Liss, New York, as the main reference text.
You can get a free copy of the text here
http://www.beckmancoulter.de/Practical%20Flow%20Cytometry.html or
here
https://www.beckman.com/resources/reading-material/ebooks/practical-flow-cytometry
Supplementary books with good background materials
    Introduction to Flow Cytometry. J. Watson, Cambridge Press, 1991 (hard to find, but excellent)
    Flow Cytometry: First Principles. Alice Longobardi Givan, Wiley-Liss, 1992 (several editions)
    Flow Cytometry: A Practical Approach. M.G. Omerod, IRL Press, 1990 (good background)
    Methods in Cell Biology: vols 40,41. Darzynkiewicz, Robinson & Crissman, Academic Press, 1994 (several more recent volumes
Here is a download link to the Intro in Watson Introduction to Flow Cytometry:

## Slide 6: Additional Background Sources
Powerpoint presentations references as J.Paul Robinson (JPR); Robert Murphry (RFM), Carleton Stewart (CS)
Web sources of these presentation are:
http://www.cyto.purdue.edu/flowcyt/educate/pptslide.htm
http://www.cyto.purdue.edu/flowcyt/educate1.htm
Additional Sources include the Purdue Cytometry CD-ROM series
Vol. 5 Vol. 6 Vol. 7 Vol. 8 Microscopy 1 Microscopy II
Vol. 1 Vol. 2 Vol. 3 Vol. 4
http://www.cyto.purdue.edu/flowcyt/cdseries.htm
DVD V10
Go here to download: http://www.cyto.purdue.edu/flowcyt/educate/pptslide.htm
Notes: Sources
This slide is to show students supplementary materials that ison CDs. These CDs are from the Purdue Cytometry CD-ROM series that include information about cytometry as well as a web browser that links the user to other cytometry web sites.

## Slide 7: http://cyto.purdue.edu

## Slide 8: http://cyto.purdue.edu

## Slide 9: Week 1
    Introduction to the course.
    Discussion of texts and associated reading materials.
    Discussion of expectations of students and special concerns.
    Methods of evaluation and testing for the course.
    Allocation of special review areas and discussion of areas for presentation of laboratory seminar.
    Introduction to flow cytometry principles
References: (Shapiro pp 1-5; Watson pp 1-4; Givan pp 1-9)

## Slide 10: Course Text
Shapiro, H. Practical Flow Cytometry, Wiley-Liss, New York, NY 4th Edition
NOTE: ONLY GET THE 4th EDITION
Note: Amazon.com and look for 2nd hand books for around used to be $10-$50 (Now they are $150—200!!) Despite being quite old, the core information in this books is tremendously useful and you will find it an excellent reference book.
OR
Download Free (you must register first) at
http://www.coulterflow.com/bciflow/practical.php
also here
https://www.beckman.com/resources/reading-material/ebooks/practical-flow-cytometry

## Slide 11: Student Seminars
The topic for the student seminar must be based upon an understanding of a component of the technology. It must demonstrate a complete understanding of the principle involved and the application to biology.
Evaluation: The seminar counts for 30% of the course. See requirements below.
EXAMPLES OF PREVIOUS SEMINARS
Evaluation of Small Particles using Flow Cytometry
Kinetic Measurements using Flow Cytometry
Monoclonal Antibodies, Avidin-Biotin Technology using Fluorescent Conjugates in Flow
Fluorescent Molecules used in Flow Cytometry
Optical Filters used in Flow Cytometry
The Optical System in a Flow Cytometer
The Fluidic System of a Flow Cytometer
The Principles of Sorting in Flow Cytometry
Parameters used in Flow Cytometry
Parameters & Probes for Evaluation of DNA & RNA in Flow Cytometry
Spectral Flow Cytometry
Any other topic can be suggested
RULES: Presentations on research projects WILL NOT BE ALLOWED. The purpose of this seminar is to demonstrate your technical knowledge in a particular area of flow cytometry. The seminar may be recorded and must not exceed 15 minutes. All presentations must be made using Powerpoint. Electronic must be provided in advance for evaluation. All material must be approved by the course instructor before presentation.

## Slide 12: General introduction to flow cytometry
    Introduction to the terminology, types of measurements, capabilities of flow cytometry, uses & applications
    Comparison between flow cytometry and fluorescence microscopy
    Transmitted light
    Scatter
    Sensitivity, precision of measurements, statistics, populations
    Flow cytometry generally does not provide spatial information (exception would be AmnisTM that does flow and imaging)

## Slide 13: Publications using the keyword “flow cytometry” from
The field of flow cytometry continually grows
•1975-1976
•1976-1977
•1977-1978
•1978-1979
•1979-1980
•1980-1981
•1981-1982
•1982-1983
•1983-1984
•1984-1985
•1985-1986
•1986-1987
•1987-1988
•1988-1989
•1989-1990
•1990-1991
•1991-1992
•1992-1993
•1993-1994
•1994-1995
•1995-1996
•1996-1997
•1997-1998
•1998-1999
•1999-2000
•2000-2001
•2001-2002
•2002-2003
•2003-2004
•2004-2005
•2005-2006
2006-2007
2007-2008
2008-2009
2010-2011
0
1000
2000
3000
4000
5000
6000
7000
8000
9000
10000
11000
115,000 – refs 2010
125,411 - refs 2011
212,069 - refs 2020
2010-2020
way high!!

## Slide 14: Flow Cytometry
Technology that measures properties of single cells
Measures fluorescence, light scatter, and other properties of cells and particles
Can provide correlated data that links different population profiles

## Slide 15: Lots of Commercial Instruments Available
Millipore/Guava
Apogee
Luminex
Accuri
Bryte
BC
BD
BD
BC
BC
BC
Amnis
Bay
Biosciences
BD Influx
BD Aria

## Slide 16: What can Flow Cytometry Do?
Enumerate particles in suspension
Determine “biologicals” from “non-biologicals”
Separate “live” from “dead” particles
Evaluate 105 to 5x106 particles in less than 1 min
Measure particle-scatter as well as innate fluorescence or 2o fluorescence
Physically sort single particles for subsequent analysis (called Cell Sorting)

## Slide 17: What are the principles?
Light scattered by a laser or other light source
Specific fluorescence detection
Hydrodynamically-focused stream of particles
Electrostatic particle separation for sorting or chip-based sorting
Multivariate data analysis capability

## Slide 18: Definitions
Flow Cytometry
  Measuring properties of cells in flow
Flow Sorting
  Sorting (separating) cells based on properties measured in flow
  Also called Fluorescence-Activated Cell Sorting (FACS) – this is a proprietary term from BD - this term can refer to sorting, but it is not usual to use it for analysis. FACS is thus frequently misused and likely by folks who learn flow on BD instruments. It is far better to use the term flow cytometry which is generic and covers both sorting and analysis or Cell Sorting if referring to sorting

## Slide 19: Technical Components
Detection Systems
Photomultiplier Tubes (PMTs)
      Historically 1-2 (old instruments)
      Current benchtop instruments 3-14
      Complex instruments mostly 10-20 now up to 50
      Array PMTs 32-40 (spectral system mostly)
Diodes
    Light scatter detectors
    CytoFlex (Beckman Coulter is all APDs)
    APD arrays (spectral systems)
    Cytek Aurora is all APDs
    SiPMs – next generation systems

## Slide 20: Illumination Systems
Lasers
325, 350-363, 380, 405, 407, 420, 457, 488, 514, 532, 543, 568, 600, 633, 660nm, 680nm, 801nm + others as developed
    Originally mainly Argon ion, Krypton ion, HeNe, HeCd, Yag,
    Now almost all are solid state, diode lasers
Arc Lamps
    Mercury, Mercury-Xenon (most lines) (rarely used currently)

## Slide 21: Biological Stains...
Up to 1850’s - only natural stains were available such as Saffron (which was what Leeuwenhoek used to stain muscle cells)
Ehrlich - used acidic and basic dyes to identify acidophilic, eosinophilic, basophilic and neutrophilic leukocytes 1880’s to study the dynamics of ocular fluids- used fluorescein
/history/Histology of the blood-ehrlich.pdf (Book)
Fluorescence UV Microscope - August Köhler - 1904
Pappenheim & Unna (early 1900’s) - combined methyl green and pyronin to stain nuclei green and cytoplasm red
Robert Feulgen (1925) - demonstrated that DNA was present in both animal and plant cell nuclei - developed a stoichiometric procedure for staining DNA involving a derivatizing dye, (fuchsin) to a Schiff base
Feulgen R, Rossenback H. Mikroskopisch-chemischer Nachweis einer Nucleinsäure vom Typus der Thymonucleinsäure und die darauf beruhende elektive Färbungvon Zellkernen in mikroskopischen Präparaten. Hoppe Seyler Z.Physiol.Chem 1924;135.

## Slide 22: Kohler’s Microscope that was used to measure Fluorescence in 1904
Kohler, A. Mikrophotographische Untersuchungen mit ultraviolettem Licht. Philadelphia: Arthur H. Thomas Co; 1904. 129-273 p.

## Slide 23: Andrew Moldavan
It is unclear if Moldavan ever built his cell counter. His short article (less than half a page) describes a number of problems but no results.
Manuscript:
Photo-Electric Technique for the Counting of Microscopical Cells
Andrew Moldavan
Montreal, Canada
Science 80:188-189, 1934
“The purpose of the experiment is to have each microscopical cell passing through the capillary tube, register itself automatically on the photoelectric apparatus, thus creating a micro-current which can be amplified and recorded.”
Moldavan (1934) demonstrates use of a suspending fluid in which were blood cells - the measurements were made in a capillary tube using a photoelectric sensor to make extinction measurements

## Slide 24: Moldavan’s Paper
Science 24 Aug 1934: Vol. 80, Issue 2069, pp. 188-189 DOI: 10.1126/science.80.2069.188

## Slide 25: Historical Overview
Torbjorn Caspersson
1941 - demonstrated that “nucleic acids, far from being waste products, were necessary prerequesites for the protein synthesis in the cell (published in Naturwissenschaften in January 1941) and that they actively participated in those processes.”
1950 - demonstrated that both DNA and RNA increase in actively growing cells famous monograph in 1950 “Cell Growth and Cell Function” described nucleic acid and protein metabolism during normal and abnormal growth. - These studies were made using a Cadmium spark source for a UV light, and primitive electronic circuits for detection of signals.
Used Feulgen stain to stain nuclei
Manuscript:
        Torbjorn O. Caspersson, History of the Development of Cytophotometry from 1935 to the present” in Analytical and Quantitative Cytology and Histology, pp2-6, 1986.

## Slide 26: Fluorescence Labeling Technique
Coons et al 1941 - developed the fluorescence antibody technique - they labeled antipneumococcal antibodies with anthracene allowing them to detect both the organism and the antibody in tissue using UV excited blue fluorescence
Manuscript:
Immunological Properties of an Antibody Containing a Fluorescent Group
Albert H. Coons, Hugh J. Creech and R. Norman Jones
Department of Bacteriology and Immunology, Harvard Medical School, and the Chemical Laboratory, Harvard University
Proc. Soc. Exp.Biol.Med. 47:200-202, 1941
“Moreover, when Type II and III organisms were dried on different parts of the same slide, exposed to the conjugate for 30 minutes, washed in saline and distilled water, and mounted in glycerol, individual Type III organisms could be seen with the fluorescence microscope……”
Coons and Kaplan (1950) - conjugated fluorescein with isocyanate - better blue green fluorescent signal - further away from tissue autofluorescence. This method used a very dangerous preparative step using phosgene gas

## Slide 27: Albert H Coons 1961 memory of his discovery
“The Beginnings of Immunofluorescence”
Albert H. Coons, J. Immunol. 87: 499-503, 1961

## Slide 28: 3 pages of methods just to make a fluorescent conjugate….in 1950
“Localization of antigen in tissue cells. II. Improvements in a method for the detection of antigen by means of fluorescent antibody” Coons, A. H. & Kaplan, M. H, J. Exp Med 91:1013, 1950

## Slide 29: Melvin Kaplan reflects on origins of immunofluorescence
CITATION CLASSIC - DISK-ELECTROPHORESIS OF BASIC-PROTEINS AND PEPTIDES ON POLYACRYLAMIDE GELS CC/LIFE SCI, (6): 19-19 1981 Original Paper : Reisfeld R A, Lewis U J & Williams D E. Disk electrophoresis of basic proteins and peptides on polyacrylamide gels. Nature 195:281-3, 1962. A1981KZ58200002

## Slide 30: Oswald T. Avery
(1944) Oswald T. Avery (1887-1955) - demonstrated that DNA was the carrier of genetic information
The Discovery of the "Transforming Principle"
Avery’s key discovery was that the transforming substance, which produced permanent, heritable change in an organism (pneumococci), was deoxyribonucleic acid.
The phenomenon of transformation, Avery wrote, "has been interpreted from a genetic point of view. The inducing substance has been likened to a gene, and the capsular antigen which is produced in response to it has been regarded as a gene product." ….
”…If the results of the present study on the chemical nature of the transforming principle are confirmed, then nucleic acids must be regarded as possessing biological specificity...."
Journal of Experimental Medicine, 1944
https://doi.org/10.1074/jbc.R200002200
This article “Oswald T. Avery and the Nobel Prize in Medicine” is really worth reading

## Slide 31: Gucker - 1947
Developed a flow cytometer for detection of bacteria in aerosols
Published paper in 1947 (work was done during WWII and was classified).
Goal was rapid identification of airborne bacteria and spores used in biological warfare
Instrument: Sheath of filtered air flowing through a dark-field flow illuminated chamber. Light source was a Ford headlamp, PMT detector (very early use of PMT)

## Slide 32: Gucker’s Apparatus
A Photoelectronic Counter for Colloidal Particles1
BY FRANK T. GUCKER, J R . , ~ CHESTER T. O’KONSKI,~ HUGH B. PICKARD3 AND JAMES N. PITTS, JR.4
https://pubs.acs.org/doi/pdf/10.1021/cr60138a009

## Slide 33: H.P. Friedman
Friedman (1950) - combined acid fuchsin, acridine yellow and berberine for uterine cancer detection using fluorescence microscopy
Acid Fuchsin
Other Names
Acid magenta Acid rubin Acid roseine
Absorption Max 540-545
Reference: Friedman HP Jr: The use of ultraviolet light and fluorescent dyes in the
detection of uterine cancer by vaginal smear. Am J Obst Gynec 59:852, 1950 (ref 4482)

## Slide 34: P.J. Crosland-Taylor
Sheath Flow Principle – 1952-3
A Device for Counting Small Particles Suspended in a Fluid through a Tube P.J. Crosland-Taylor
Bland-Sutton Institute of Pathology Middlesex Hospital, London, W.1. June 17, 1952 Nature 171: 37-38, 1953
“Provided there is no turbulence, the wide column of particles will then be accelerated to form a narrow column surrounded by fluid of the same refractive index which in turn is enclosed in a tube which will not interfere with observation of its axial content.”

## Slide 35: Watson & Crick-1953
The work which began with Avery's identification of DNA as the "transforming principle" thus led to research that overturned the old conception of DNA as a repetitive and simple molecule, confirmed DNA's role in genetic transmission, and, with James Watson and Francis Crick's 1953 paper, elucidated its structure.
J. D. WATSON and F. H. C. CRICK Molecular Structure of Nucleic Acids
Nature, 25 April 1953, VOL 171,737-738 1953
This is a picture of part of the original model built by Watson and Crick at Cambridge in 1953.
One wonders what they would have done if they had 3D software like we have today…..

## Slide 36: Molecular Structure of Nucleic Acids

## Slide 37: von Bertalanffy & Bickis - 1956
Ludwig von Bertalanffy (1901-1972)
von Bertalanffy & Bickis (1956)
The metachromatic fluorescence of AO was used to identify and quantitate RNA in tissues and that also that normal and malignant cells could be discriminated
AO - Absorption Max 467 nm
“Identification of cytoplasmic basophilia (ribonucleic acid) by fluorescence microscopy” von Bertalanffy, L.
Bickis, I.; Journal of Histochemistry and Cytochemistry 4: 481-493, 1956

## Slide 38: Wallace Coulter
Wallace Coulter - Coulter orifice - 1956 -
(patent 1953) - measured changes in electrical conductance as cells suspended in saline passed through a small orifice
The first commercial version of the Coulter Counter
Coulter’s
Original 1953
Patent app’n
From 1949
©J.Paul Robinson
©J.Paul Robinson

## Slide 39: Cell Counting Theory
The hemocytometer was the counting standard from about 1950 until the 1960’s.
the dimension of this device was 3x3x0.1 mm. Typically RBCs were counted using a 1:200 dilution from the 1 x 106/mm3 in whole blood.
Leukocytes (5x103/mm3) were diluted 1:10 in a lysing reagent and a dye to stain nuclei
Statistical variation is calculated by the following:
  - The standard deviation of a count on n items in n
  - Considering no more than 500 cells could be possibly counted manually the standard deviation would therefore be 22
  - the coefficient of Variation (CV) is 22/500 or 4.4%
  - add pipetting and dilution errors and its about 10%

## Slide 40: Early Cell Counter
Early cell counter. Katherine Williams and C.S. Sanders (Atomic Energy Research Establishment) 1948 - Unclassified in 1956. (Photo taken in Science Museum, London UK by JPR)
©J.Paul Robinson

## Slide 41: The first Coulter Counter
High Speed Automatic Blood Cell Counter and Cell Size Analyzer
Wallace H. Coulter
Coulter Electronics, Chicago, Illinois
:1034-1042, 1956

## Slide 42: From Coulter’s only publication…

## Slide 43: Wallace Coulter - Coulter orifice - 1948-1956
Cell counter
vacuum
orifice
©J.Paul Robinson
The Coulter Model F released
In 1963 – was the 4th iteration
Of the Coulter Counter by
Coulter Electronics, Inc.

## Slide 44: Hand-drawn advertising drafts of the first Coulter Counter (1956)

## Slide 45: History of Cellular Clinical Diagnostics
1941-43 Landmark monograph: Diagnosis of Uterine Cancer by the Vaginal Smear. Authored by George N. Papanicolaou (an anatomist) and Herbert F. Traut (a gynecologist).
SUCCESS OF THE PAP SMEAR
1941 26,000 deaths per year in the United States due to cancer of the uterus as reported by Papanicolaou and Trout.
1996 4,900 estimated deaths per year in the United States due to cervical cancer with nearly a 2-fold increase in population in the intervening half century. At least half of these deaths are women who never had a Pap smear. PAP TESTING IMPROVEMENTS
1951 Cytoanalyzer by Airborne instruments of Mineola, New York. Utilized World War II technology.1980s TICAS and CYBEST; Computer analysis and automated cytology projects. (These pioneering systems proved insufficient for general use).

## Slide 46: Historical Overview
Marylou Ingram – 1950-60’s - identified that radiation caused increased number of binucleated lymphocytes in peripheral blood - she used a scanner to detect these rare cells (1/10000)

## Slide 47: Marylou Ingram
CYTO2010 Congress, Seattle, WA, 2010

## Slide 48: Marylou Ingram and Automated Imaging
Marylou Ingram - 1960’s - identified that radiation caused increase number of binucleated lymphocytes in peripheral blood - she used a scanner to detect these rare cells (1/10000)
Preston 1964, Cytoanalyzer was designed to identify Ingram’s rare cells using a Vidicon based system - digitized images of lymphocytes were produced stained with eosin-methylene azure dye combinations.
References: "Preparation of Cytologic Material for Automatic Scanning Machines" J.C.Pruitt, Ingraham, S.C.; Kaiser, R.F.; and Hilberg, A.W. – J. Nat. Cancer Inst. 22; 1105-1117, 1959
"Field Trial of the Cytoanalyzer; 1186 Specimens Analyzed" J.C.Pruitt, Courtney, W.B.; Hilberg, A.W.; Ingraham, S.C.; Kaiser, R.F. and Houser, M.H. J. Nat. Cancer Inst. 24; 1167-1179, 1960
“Importance of automatic pattern recognition techniques in the early detection of altered blood cell production”; Ingram, M. & Prestin, K.; Annals of the New York Academy of Sciences 113:1066-1072, 1964

## Slide 49: Historical Overview
Requirements of image analysis
      Pattern recognition, feature extraction, parameters or descriptors, texture, color, staining properties
Question:
Why was it so difficult to do image analysis and image
processing in the 1960’s?
Answer: ?
(Hint: the driving force for flow cytometry was really the result of this issue)

## Slide 50: Mort Mendelsohn (Died Dec 25, 2019)
CYDAC Analyzer - (1964) - Mendelsohn, Mayall, Prewitt (U.Pen)produced high resolution digital images of leukocytes - cells were stained with gallocyanin chrom alum and naphthol yellow S
Brian Mayall
Early Technology Developers
Photos taken in 1998 by JPR
Mendelsohn, M. & Mayall, B. (1974) in Human Chromo- some Methodology,ed.Yunis,J.(AcademicPress,New York),pp. 311-346.

## Slide 51: Historical Overview
Early flow systems
Hallermann et al, Kosenow - 1964 - AO staining of leukocytes - was able to use fluorescence (in a flow-based system) to select leukocytes from red cells despite a low ratio (1/1000) because they took up lots of AO - also claimed to be able to discriminate between monocytes and PMN
Scan and structure from www.probes.com
Molecular Formula: C17H20ClN3
Molecular Weight: 301.82
CAS Number/Name: 65-61-2 / 3,6-Acridinediamine, N,N,N',N'-tetramethyl-, monohydrochloride

## Slide 52: Lou Kamentsky
Kamentsky’s first benchtop instrument the Cytograph (1970). This measured scatter using a He-Ne laser. This particular instrument was a model prior to the fluorescence detection model.
He also built a fluidic cell-sorter to evaluate the cells identified in his RCS. An RCS was sent to Stanford for use by Leonard Herzenberg . The unit was also the model for the Technicon D instrument built by Technicon. (Reference: Shapiro)
©J.Paul Robinson

## Slide 53: Richard Sweet
Richard Sweet developed the electrostatic ink-jet printer which was the principle used by Mack Fulwyler to create a cell-sorter.

## Slide 54: Dick Sweet (recollection from 1991)
From Smithsonian recording used by permission
video 1:16m

## Slide 55: Mack Fulwyler
Mack Fulwyler – worked in Marvin van Dilla’s lab at Los Alamos. – developed the sorter in 1965 – initially used electronic cell volume - at Los Alamos National Labs - this instrument separated cells based on electronic cell volume (same principle as the Coulter counter) and used electrostatic deflection to sort. The cells sorted were RBC because they observed a bimodal distribution of cell volume when counting cells - the sorting principle was based on that developed for the inkjet printer by Richard Sweet at Stanford in 1965.
After determining that the bimodal distribution was artifactual, this group were able to sort neutrophils and lymphocytes from blood.
Marvin van Dilla
(Photo dated 6/91)
Mack Fulwyler
(Photo dated 6/91)
Lushbaugh, CC, Basmann,NJ, Glascock, B. Electronic measurement of cellular volumes.
II Frequency distribution of erythrocyte volume. Blood 1962 20:241-248 Correspondence Blood 1964:23:403-405

## Slide 56: Here is Mack Fulwyler telling the story (1991 recollection)
From Smithsonian recording used by permission
Video is 6:15Min

## Slide 57: Here is Marvin van Dilla on the why they were interested in fluorescence (1991 recollection)
From Smithsonian recording used by permission
Video is 4:30 Min

## Slide 58: The mysterious red cell problem
So, it was determined that RBC traveling past the laser were identified as “different” only because of the artifacts developed from the current being too high at the aperture of the coulter counter.
When Fulwyler sorted a single population and reran that population through the Coulter Counter, he again saw the bimodal population proving that the bimodality was an artifact.
As a matter of interest, I spoke to Mack Fulwyler about this experiment, and he told me that the essentially determined the solution to this enormous problem in one afternoon, and after all that, they never actually published a paper about the problem……like good scientists, they just went on to solve a real (biological) problem!!!

## Slide 59: Fulwyler’s Sorter

## Slide 60: Personal perspective on why flow cytometry was important
In 2006, my group tried to bring low-cost flow cytometry to the community. It was not a popular idea, but it was inspired by Mack Fulwyler and Stephen Lewis. I think it is useful in this first lecture to get a feeling for why flow is important in many areas
video 12:25 m

## Slide 61: So where is flow cytometry by 1965?
Fulwyler had built a sorting instrument
this only sorted by Coulter Volume (impedance not fluorescence)
But it set the sights for a sorting instrument based on Fluorescence that was developed by Len Herzenberg a few years later
Most work for analysis was achieved by using spectroscopy – absorbance spectra mainly in the UV domain
It was considered that the most important studies on cells was related to nucleic acid function at this time
Microscopy was the dominant mechanism for studying cells

## Slide 62: Lecture Summary
Introduction to course
Reading and Support Materials
History
Technical Highlights
At the conclusion of this lecture, you should:
Know what the requirements of this course are
Know where to track down information of importance
Understand a brief history of the development of flow technology
Be introduced into some of the fundamental principles
Have a perspective on why imaging was so difficult to do at the time
Note: If you use materials from this lecture series, please acknowledge the source