## Slide 1: Conferencia Magistral “ Dr. Mack Jett Fulwyler” High Throughput-High Content Flow Cytometry: A new opportunity for Cytometry.
J. Paul Robinson, PhD
Purdue University Cytometry Laboratories (PUCL)
September 2012 - Mexico City
Purdue Cytometry Email Discussion
3800 people daily output
cyto.purdue.edu/hmarchiv/index.htm

## Slide 2: Mack Fulwyler 1936-2001

## Slide 3: Richard Sweet’s response to Fulwyler letters
Reviews of Scientific Instruments,
36, 131-136, 1965
Sweet’s ‘Ink-Jet Oscillograph”

## Slide 4
8 April ‘65
5. The next separation attempt took place 7 2 day and involved sep. of red blood cells (mine)
From 3.49 um polystyrene spheres. All operations conditions were as before. I obtained a
very good separation but was still not
satisfied.
Mack Fulwyler’s Lab note book

## Slide 5: Fulwyler cell sorting patent, 1965

## Slide 6: Fulwylers Cell Sorter
Memory module
4 k total memory
Sort chamber
Fluorescence
detector
Fluidics control
Memory module
4k memory
Oscilloscope
Signal processor

## Slide 7
All the photos, vidoes, papers, etc. are at www.cyto.purdue.edu/cdroms/cyto10a/
Fulwyler- “why I invented the cell sorter”

## Slide 8: Resources Available
Education: www.cyto.purdue.edu
Cytometry Discussion: www.cyto.purdue.edu/hmarchiv/index.htm
Flow cytometry/confocal lectures
www.cyto.purdue.edu/flowcyt/educate/pptslide.htm
CDROM/DVDs - www.cyto.purdue.edu/flowcyt/cdseries.htm
Free Software:
Basic flow analysis including Principal Component Analysis
www.cyto.purdue.edu/Purdue_software Cytospec
PlateAnalyzer – High Content Analysis software
This lecture: cyto.purdue.edu/flowcyt/educate.htm

## Slide 9
Vision is the art of seeing what is invisible to others.
Jonathan Swift

## Slide 10: Objectives of the presentation
Identify some next generation tools in cytometry
Discuss the difficulties in flow cytometry data analysis
Demonstrate how high throughput cytometry works using drug screening as an example
Show how flow cytometry might become a systems approach to discovery?
Conclude with looking at incredibly complex assays to show how mass cytometry data might be analyzed

## Slide 11: In 1980 – it was “what you see is what you get”!!
CYTOMETRY Vol. 1, No. 1,1980
G. Zeile, Intracytoplasmic Immunofluorescence in
Multiple Myeloma'
Received for publication January 29, 1980; accepted April 10, 1980
http://en.wikipedia.org/wiki/File:Hubble_ultra_deep_field_high_rez_edit1.jpg

## Slide 12
Spectral tools
Purdue Patent #7,280,204
Purdue 2003

## Slide 13: Classified Candies (M&Ms)
1
1
1
1
1
1
1
2
2
2
2
3
3
3
3
3
4
4
4
5
5
5
1
1
1
1
1
1
1
2
2
2
2
3
3
3
3
3
4
4
5

## Slide 14: Example of complex data
These are all the exact same dataset!!!
Notes: Complex data can be represented in many ways – all these are identical data sets – but one is a dot plot with specialty markers, and two are images and one is a histogram….but regardless they are all the same thing (the picture of the person on the top right)
This the message is that a data set can represent a complex result

## Slide 15: 32 PMTs collecting 10-15nm bands
Notes: One of the opportunities for next generation cytometry is spectral analysis - here is a traditional set of dye emissions – (center) it can be seen that if we use a 32 channel PMT to collect an entire spectrum…this will allow us to collect spectral fingerprints (see next slide) where we can separate certain signatures for analysis….

## Slide 16: Principle of Operation
US & foreign patents pending

## Slide 17
PE
Rh-123
Chlorophyll
Bang’s
Labs
Dyed
Beads*
These CANNOT be resolved
Advanced classification tools
like PCA are required
“2” color analysis
These CAN now be resolved

## Slide 18: Spectral “fingerprints” identify samples

## Slide 19: Spectral “fingerprints” identify samples
This technology is now a commercial technology (Sony) so it will become a tool that some of you will have to learn about (so more flow cytometry courses!!) (…to HT)

## Slide 20: Traditional gating process
Traditional flow gating logic and analysis approach
‘What we see depends mainly on what we are looking for.’ John Lubbock
Decision
Result
Decision
Decision
Result
Decision
Repeat ad infinitum

## Slide 21: Circa, 1990-present
Run 30-60 samples
per hour
ANALYSIS
1 sample 10 to 30 minutes

## Slide 23: The Operational Modality of Flow Cytometry
1. Take a complex biological sample
2. Separate that sample into single samples
3. Run each sample as a single unit
4. Put all the data back together again
5. Try to relate each piece of data back to the original biological system
The operational modality of Flow Cytometry.pptx
Traditional
HT Flow
1. Take a complex biological sample
2. Create very large scale “systems level” experimental grids
3. Run samples as a high speed, low volume set
4. Combine data automatically as sets
5. Conduct simultaneous
advanced analysis in
parallel

## Slide 24
Data provided by Bernd
Bodenmiller, Nolan Lab
‘It’s not what you look at that matters,
it’s what you see.’
Henry David Thoreau

## Slide 25: Perhaps the most difficult issue in high throughput flow cytometry is:
How do you analyze all those data?

## Slide 26: The operational modality
Take a complex biological sample
Separate it into single samples
Run each sample as a single unit
Try to put all the data back together again
Try to relate each piece of data back to the original biological system
TIME
&
TIMING

## Slide 27: Optical Design of a basic flow cytometer
PMT 1
PMT 2
PMT 5
PMT 4
Dichroic
Filters
Bandpass
Filters
Laser
Flow chamber
PMT 3
Scatter
Sensor
PMT 1
PMT 2
PMT 5
PMT 4
Dichroic
Filters
Bandpass
Filters
Laser
Flow chamber
PMT 3
Scatter
Sensor
Sample
HyperCyte diagram kindly supplied by Larry Sklar
HyperCyt system added to flow cytometer
Copyright 2006 Nature Publishing Group
Nature Reviews Protocols
384 wells/10 min
1 ml/sample 5000 cells/ml
Notes: Basic schematic for how a flow cytometer works – a cell passes via a laser (blue line) and signals are passed down to each PMT and light scatter detector

## Slide 28
9 color CyAn fast flow cytometer
High speed HyperCyt robot
TIME
TIMING

## Slide 29: High Content Screens: Multiparameter vs Throughput
Modified from Feng, Y. et al (2009) Nature Reviews Drug Discovery 8, 567-578 | doi:10.1038/nrd2876
Flow
Functional Phenotypic Profiling
CyTOF
Notes: The ability to multiplex and the throughput of the assay are often inversely correlated. Highly multiplexed assays with tens of thousands of read-out parameters, such as complementary DNA (cDNA) and protein microarrays, as well as protein mass spectrometry, are often many orders of magnitude slower than other less complex assays, such as enzyme-linked immunosorbent assays (ELISAs) or reporter gene assays (RGAs). ELISAs and RGAs, in single output format, are widely used as high-throughput screening (HTS) methods. Multiplexed ELISAs and RGAs, which are essentially many HTS assays running in parallel at lower throughput, can be used as profiling tools. Gene signature, imaging-based flow cytometry and microscopy assays have the potential to be simultaneously high throughput as well as highly multiplexed. Imaging-based assays (shown in yellow) also provide single-cell-based information for analysis of a heterogeneous cell population. FACS, fluorescence-activated cell sorting.

## Slide 31
Automated
Cytomat
Incubator
Automated Biomek
Preparative system
Automated HyperCyte
Sample Delivery
Cyan flow cytometer

## Slide 32: Multiparametric cytometry and multifactorial HTS
Number of cells is measured,
Fluorescence intensity is a feature
Define multiple populations in the feature space
Find the features describing the populations f1,…, fn
concentration
compounds
Perform m × n single measurements
Flow cytometry
HTS
Find the features (such as IC50)

## Slide 33: Multiparametric and multifactorial HT cytometry
Define multiple populations in the feature space
Find the features describing the populations f1,.. fn
concentration
compounds
Create n × m array of features, where every m could be a vector [f1,…,fn]
HT flow cytometry
Find the features (such as IC50)

## Slide 34: Problem 1: eliminate operator’s input in analysis
gate
gate
Calculate fraction of “positive” and “negative” cells
Problems?
Well… plenty actually

## Slide 35: Alternative?
Method I
  Sort the apples (“gate” the green and red populations, or red and non-red)
  Count red and green (non-red)
  Compare the counts
Method II
  Find a bucket full of red apples only
  Find the distribution
  Take a bucket with red and green apples and find the distribution
  Compare the distribution
Harvest day
Percentage of green apples
-5
-10
-15
-20
20
40
60
80
Heuristic methods
  Minkowski-form
  Weighted-Mean-Variance (WMV)
Distance functions used in nonparametric tests
   2 (Chi Square)
  Kolmogorov-Smirnov (KS)
  Cramer/von Mises (CvM)
Information-theory divergences
  Kullback-Liebler (KL)
  Jeffrey divergence (JD)
Spectral measures
  Spectral angle mapper
  Bhatacharyya distance
Ground distance measures
  Histogram intersection (Overton)
  Quadratic form distance (QF)
  Wasserstein-Rubinstein-Mallows distance (Earth Movers Distance)

## Slide 36: More parameters – better results
Optimize β and γ
IC50=10169
EC50=10170

## Slide 37: Graphical data processing environments
Orange
IBM Data Explorer
Khoros
AVS

## Slide 38: Graphical cytometry analysis pipeline builder
A3
B3
C3
D3
E3
F3
G3
H3
I3
J3
Control +
Control -
Build curve
distance
Label 1
distance
Label 2
distance
Label 3
Extract features
We call this a Logic Map
Result
Drug 1
Drug 2
Drug 3
Drug 4
Drug 5
Drug6
Drug 7
Drug 8
Drug 9
Drug 10

## Slide 39: Cell Models and Target Function
Mitochondrial membrane potential is the electrical potential (or voltage) difference between the interior and exterior of mitochondria
HepG2 (adherent) An established human hepatocarcinoma cell line liver is the major site of metabolism with epithelial morphology for most drugs
HL60 (non-adherent) - Human cell line suspension cells
Many other cell lines
Notes: Hep G2 :. HepG2 cells are used routinely for a variety of biochemical and cell biological studies, including studies of hepatocyte functions. HepG2 is the most commonly used cell line for examining the regulation of hepatic protein synthesis by cytokines (see, for example: acute phase proteins).
Hep G2 is a perpetual cell line which was derived from the liver tissue of a 15 year old Caucasian male with a well differentiated hepatocellular carcinoma. These cells are epithelial in morphology, have a model chromosome number of 55 and are not tumorigenic in nude mice. The cells secrete a variety of major plasma proteins; e.g., albumin, transferrin and the acute phase proteins fibrinogen, alpha 2-macroglobulin, alpha 1-antitrypsin, transferrin and plasminogen. They have been grown successfully in large scale cultivation systems. Hepatitis B virus surface antigens have not been detected. Hep G2 cells have been shown to be G418 resistant (400 µg/mL). The cells will respond to stimulation with human growth hormone.
Hep G2 cells are adherent.
They generate most of the cell's supply of adenosine triphosphate (ATP), used as a source of chemical energy. In addition to supplying cellular energy, mitochondria are involved in a range of other processes, such as signaling, cellular differentiation, cell death, as well as the control of the cell cycle and cell growth. Mitochondria have been implicated in several human diseases, including mitochondrial disorders and cardiac dysfunction, and may play a role in the aging process.
Substantial numbers of mitochondria are in the liver, with about 1000–2000 mitochondria per cell making up 1/5th of the cell volum
Membrane potential (or transmembrane potential) is the voltage difference (or electrical potential difference) between the interior and exterior of a cell. Because the fluid inside and outside a cell is highly conductive, while a cell's plasma membrane is highly resistive, the voltage change in moving from a point outside to a point inside occurs largely within the narrow width of the membrane itself. Therefore, it is common to speak of the membrane potential as the voltage across the membrane.

## Slide 40: Membrane Potential, Glutathione, Viability, Superoxide
Calcein
JC-1
mbbr
Mitosox [1]

## Slide 41: 384 Well Plate Format For drug screen - Redox
Ethanol
positive controls
Negative
control wells
Negative
control wells
Redox
3 color assay
3-5,000 cells per well (1 to 2 x 106 cells/plate)

## Slide 42: Logic Process
Biomek automated plate preparation
Biomek to Hypercyte/Cyan
1 Plate is run
Technician runs Plate Analyzer in semi automatic mode to check assay integrity
Data OK?
No
yes
Next Plate is run

## Slide 43: Highlight the Analysis Logic Map Format

## Slide 44: Logic Map Technology

## Slide 45: 3 functional assays, 32 drugs, 96 curves, 10 points per drug
1 Click
1 minute
One 384 well plate, 8 minutes collection
Mitosox
Calcein
mBBr

## Slide 47: Gated – manual gate settings
Generated IC50 curve

## Slide 48: Automated Analysis – No Manual gating
Representative “Curve”
KL-Values

## Slide 49: Comparison – Gating vs NonGgating
IC50
KL-Values

## Slide 51: Direct reporting of IC 50 Results

## Slide 52
Multiple analytical solutions

## Slide 54: Multicolor Flow Analysis 7 color data with dose response curves
Logic Map to produce curves

## Slide 56: The power of cytomics

## Slide 57: Mass Cytometry - CyTOF

## Slide 58
Data from Bernd Bodenmiller, Nolan Lab
dasatinib
H-89
imatinib
rapamycin
SB-202190
sorafenib
SP600125
staurosporine
sunitinib
UO126
VX680
BTK inhibitor III
IKK inhibitor X
JAK inhibitor I
JAK2 inhibitor III
JAK3 inhibitor VI
Lck inhibitor
PP2
Syk inhibitor IV
Akti-1/2,
GDC-0941
streptonigrin
Go-6983
Crassin
14x14x12=2353

## Slide 59: Very complex data sets

## Slide 60: PlateAnalyzer approach to High Content Analysis
(Example screenshot of the software)

## Slide 64: Summary
When you think you finally know flow cytometry, a new area emerges and you have to go back to school
Flow cytometry can provide a systems approach with many unique opportunities
Many of the new approaches require more automation which leads to lower per test cost, better quality control and faster results
Automated classification tools allow us to enhance the automation process and assist in identifying signaling pathways
But even though the analysis is very complex, the lab scientist must be able to perform the analysis of these complex data sets – the complexity must be “under the hood”, easy, interactive and accurate

## Slide 65: Purdue University Cytometry Laboratories - Acknowledgements
Contributors
  Staff Scientists: Valery Patsekin, Andy Bieberich, Maria Tsiper, Lararissa Avramova
Postdocs: Ana Juan
Graduate Students: Awais Mansoor, Angela Wolf, Fiona Thomas, Anthony Pedley
Undergrad Students: Nicole Lewis, Peter Carlsgaard
Faculty: Bartek Rajwa, V.J.Davisson
Data sets: Gary Nolan Lab, David Hedley, Bernd Bodenmiller
Staff
  Jennie Sturgis (Imaging)
  Kathy Ragheb (Flow)
  Cheryl Holdman (Flow)
  Raymond Fatig (cell culture)
Funding:
NIH, NSF, USDA, Purdue University
Corporate: Beckman-Coulter, Point-Source, Parker-Hannifin, Polysciences, Bangs labs, Roche, MediaCybernetics, Q-Imaging, Kodak Medical Systems, Crystalplex, Becton-Dickinson , Icyt,
eBioscience, ITG Indiana, Roche, Edmund Optic, Perkin Elmer, Digilab Inc., Spherotech, Inc., IntelliCyt, Inc
Research reported in this presentation was supported by the National Institute of General Medical Sciences & the National Cancer Institute of the National Institutes of Health under Award Numbers 1R56AI089511-01 &
1R33CA140084. The content is solely the responsibility of the authors and does not necessarily represent the official views of the National Institutes of Health.