## Slide 1: Historical Review of Microscopic Imaging
J. Paul Robinson, Ph.D.
Distinguished Professor of Cytometry
& Prof. Biomedical Engineering
Director, Purdue University Cytometry Laboratories
UPDATED January2025
BMS 524 - Lecture 1, 2 and 3
Notice: The materials in this presentation are copyrighted materials. If you want to use any of these slides, you may do so if you credit each slide with the author’s name. No commercial use is allowed. Posting on Course Hero or any other site is Illegal.
How did we end up with all the components of modern Microscopy?
The first couple of lectures will introduce you to how each component was invented.

## Slide 2: Learning Objectives - Lecture 1 this is in 2 parts – Pt#1 and Pt#2 Pt#3
Understand the invention process of microscopy over several centuries
Learn why each inventor had to change the technology
Discovery why new algorithms changed the process of microscopy
See how these discoveries impact how we use technology today
Goals and Evaluation
1CR class – goal is to provide a basis for understanding the basics of microscopy, and the nature of images and their correct usage.
Evaluation will be based on a take home exam at the end of the semester.

## Slide 3: Introduction
Early Microscope History
Fundamental Discoveries
Key Individuals in the 17, 18 and 19th centuries
Modern Microscopy – 20th century

## Slide 4: Hans & Zacharias Janssen 1690
1590 - Hans & Zacharias Janssen of Middleburg, Holland manufactured the first compound microscopes
1590
Image from https://www.interestingworldfacts.com/10-interesting-facts-about-zacharias-janssen/
Image from https://www.livescience.com/39649-who-invented-the-microscope.html
Galileo Galilei soon improved upon the compound microscope design in 1609. Galileo called his device an occhiolino, or "little eye."

## Slide 5: Galileo Galilei (1564-1642)
1610 - he began publicly supporting the heliocentric
view, which placed the Sun at the centre of the universe
Galileo has been variously called
  the "father of modern observational astronomy
  the "father of modern physics
  the "father of science
The name "telescope" was coined for Galileo's instrument by a Greek mathematician, Giovanni Demisiani, at a banquet held in 1611 by Prince Federico Cesi to make Galileo a member of his Accademia dei Lincei (literally the "Academy of the Lynx-Eyed", but anglicised as the Lincean Academy)(Per Wikipedia)
Giovanni Faber coined the word microscope from the Greek word μικρόν (micron) meaning "small", and σκοπεῖν (skopein) meaning "to look at".
The Linceans played a role again in naming the "microscope" a year later when fellow academy member Giovanni Faber coined the word for Galileo's invention from the Greek words μικρόν (micron) meaning "small," and σκοπεῖν (skopein) meaning "to look at."
1610

## Slide 6: Galileo Galilei (1564-1642)
1610 - he began publicly supporting the heliocentric view, which placed the Sun at the centre of the universe
Galileo has been variously called
  the "father of modern observational astronomy
  the "father of modern physics
  the "father of science
1610
Entered University of Pisa in 1581 to study medicine
…and flunked out….!! and was eventually given a faculty position there despite no degree!

## Slide 7: Galileo Galilei (1564-1642)
in 1609 Galileo built an optical device that could magnify images up to 10 times…..
The name "telescope" was coined for Galileo's instrument by a Greek mathematician, Giovanni Demisiani, at a banquet held in 1611 by Prince Federico Cesi to make Galileo a member of his Accademia dei Lincei (literally the "Academy of the Lynx-Eyed", but anglicized as the Lincean Academy)(Per Wikipedia 1610 - he began publicly supporting the heliocentric view, which placed the Sun at the center of the universe
1610
…well the university eventually fired him….and he move to the university of Padua…..

## Slide 8: Galileo Galilei (1564-1642)
1610
Giovanni Faber coined the name microscope for the compound microscope Galileo submitted to the Accademia dei Lincei in 1625 (Galileo had called it the "occhiolino" or "little eye"). (This academy disappeared after 1651)
Published “Dialogue Concerning the Two Chief World Systems” in 1632, and was tried by the Inquisition, found "vehemently suspect of heresy," forced to recant, and spent the rest of his life under house arrest (to 1642)
Read up on Nicolau Copernicus …..and Published “Dialogue Concerning the Two Chief World Systems” in 1632, and was tried by the Inquisition, found "vehemently suspect of heresy," forced to recant, and spent the rest of his life under house arrest (to 1642)
In 1610, he used a telescope at close range to magnify the parts of insects.
Denounced to the Roman Inquisition early in 1615 and by 1624 he had perfected a compound microscope (by inverting his telescope!)

## Slide 9: So, what about Copernicus (1473-1543)?
Studied from 1491-1495 at the Jagiellonian University in Kraków, Poland
..and also at the University of Padua
image from https://en.wikipedia.org/wiki/Nicolaus_Copernicus
https://en.wikipedia.org/wiki/De_revolutionibus_orbium_coelestium#/media/File:De_revolutionibus_1543.png
De revolutionibus orbium coelestium (1543)
De revolutionibus
Published

## Slide 11: Marcello Malpighi (1628-1694)
1660 - Marcello Malpighi (1628-1694), was one of the first great microscopists, considered the father embryology and early histology
Italian professor of medicine. He spent much of his time at the University of Bologna.
Observed capillaries in 1660
Wrote observations on how blood clots
First to observe bordered pits in wood sections.
Gave first account of the development of the seed.
Malpighi was made a member of the Royal Society in 1669
1660
Photo: © J. Paul Robinson
https://en.wikipedia.org/wiki/Marcello_Malpighi
University of Bologna

## Slide 12: Robert Hooke (1635-1703) (often written as Hook)
Oxford University
1665
Photo JP Robinson 2003
Photos: © J. Paul Robinson
Born on England's Isle of Wight in 1635
In 1653, Hooke enrolled at Oxford's Christ Church College and became an assistant to the chemist Robert Boyle
Hooke had very influential friends (Robert Boyle, Christopher Wren)
Hooke was a critical person in the aftermath of the great fire of London in 1666 – re0organizaing many of the city facilities working directly with Christopher Wren
No good likeness exists of Robert Hooke for a reason we do not know….
https://www.biography.com/scholar/robert-hooke
The 1678 publication of Hooke's Lectures of Spring shared his theory of elasticity; in what came to be known as "Hooke’s Law," he stated that the force required to extend or compress a spring is proportional to the distance of that extension or compression.
Isle of Wight

## Slide 13: Robert Hooke was Robert Boyle’s laboratory Assistant!
Oxford University
1665
Photos: © J. Paul Robinson 2003
Was an architect in London, England
Robert Hooke was Robert Boyle’s laboratory Assistant at Oxford university (1655-1662)
Built vacuum pumps for Boyle
Built early reflecting telescopes (Gregorian)
first to suggest that matter expands when heated
First to suggest that air is made of small particles separated by relatively large distances.
Me! (not Robert Hooke!)
Photos: © J. Paul Robinson 2003

## Slide 14: Robert Hooke (1635-1703)
© J.Paul Robinson
The Royal Society of London founded in 1660 by Christopher Wren, Robert Boyle and John Wilkins. Robert Hooke was a member by 1665 and published the first works of the Royal Society in his Micrgraphia
The Royal Society's motto 'Nullius in verba' means 'take nobody's word for it'.
1665 - Robert Hooke (1635-1703)- book Micrographia, published in 1665, devised the compound microscope most famous microscopical observation was his study of thin slices of cork. Named the term “Cell”
1665
Photo: © J. Paul Robinson

## Slide 15: The great Fire of London September 1666
© J.Paul Robinson
The Great Fire of London swept through the central parts of the English city from Sunday, 2 September to Thursday, 6 September 1666. The fire gutted the medieval City of London inside the old Roman city wall. It threatened but did not reach the aristocratic district of Westminster, Charles II's Palace of Whitehall, or most of the suburban slums. It consumed 13,200 houses, 87 parish churches, St Paul's Cathedral, and most of the buildings of the City authorities. It is estimated to have destroyed the homes of 70,000 of the city's 80,000 inhabitants
1666
https://en.wikipedia.org/wiki/Great_Fire_of_London
St Paul’s Cathedral designed by Christopher Wren

## Slide 16: Philosophical Transactions (1665…The first Scientific Journal)
© J.Paul Robinson
Hooke was the “Curator of Experiments” to the Royal Society. In such a position it was his responsibility to demonstrate that many ideas sent into the Society, were accurate. This gave him a lot of power, but little time to do his own experiments apparently. It also created friction with Issac Newton who was at Cambridge University – the main competitor to Oxford University!
1665

## Slide 17: “Robert Hook”
1668
A Contrivance to Make the Picture of Any Thing Appear on a Wall, Cub-Board, or within a Picture-Frame, &c. in the Midst of a Light Room in the Day-Time; Or in the Night-Time in Any Room That is Enlightned with a Considerable Number of Candles;
Devised and Communicated by the Ingenious Mr. Hook, as Follows

## Slide 19: Robert Hooke (1635-1703)
  “. . . I could exceedingly plainly perceive it to be all perforated and porous. . . these pores, or cells, . . . were indeed the first microscopical pores I ever saw, and perhaps, that were ever seen, for I had not met with any Writer or Person, that had made any mention of them before this.” Robert Hooke
1665
Note: this is the famous Robert Hooke quote that is in every textbook, quoted in every manuscript….
But it is actually not a direct quote – it is a classic quote that one person used and everyone else then quotes…

## Slide 20
1665

## Slide 21: What did Hooke see when he looked at cork?
Hooke, 1665
The Purdue version of the
Hooke cork (2002)
A confocal
microscope view
of cork
…And even higher
Magnification in 3D
Photos: © J. Paul Robinson
1665

## Slide 23: Hooke demonstrated an accurate method of finding the magnifying power of a compound microscope
" Having rectified the microscope to see the desired object through it very distinctly, at the same time that I look upon the object through the glass with one eye, I look upon other objects at the same distance with my other bare eye; by which means I am able, by the help of a ruler divided into inches and small parts, and laid on the pedestal of the microscope, to cast, as it were, the magnified appearance of the object upon the ruler, and thereby exactly to measure the diameter it appears of through the glass, which being compared with the diameter it appears of to the naked eye, will easily afford the quantity of its magnifying."
1665
" If you take a clear piece of Venice glass, and, in a lamp, draw it out into fine threads, and then hold the ends of these threads in the flame, until they melt, they will run into a small round globule or drop, which will hang to the end of the thread; having made a number of these, they are all to be stuck upon the end of a stick with a little sealing-wax, with the threads standing uppermost ; these ends are to be ground off first on a whetstone, and then polished on a metal plate with tripoli. The lenses thus finished, if placed against a small hole made in a thin piece of metal, and fixed there with wax, will both magnify and make some objects more distinct than any of the great microscopes can do."
And how to make high power lenses

## Slide 24: Robert Hook (Robert Hooke) Published in 1700
1700

## Slide 25: Antioni van Leeuwenhoek (1632-1723)
1673 - Antioni van Leeuwenhoek - Delft, Holland, worked as a draper (a fabric merchant); he is also known to have worked as a surveyor, a wine assayer, and as a minor city official.
Leeuwenhoek is incorrectly called "the inventor of the microscope"
Created a “simple” microscope that could magnify to about 275x, and published drawings of microorganisms in 1683
1673
Images from https://en.wikipedia.org/wiki/Antonie_van_Leeuwenhoek

## Slide 26: Antioni van Leeuwenhoek (1632-1723)
Why did he develop an interest in Lens making?
Because as a draper he had difficulty in seeing the quality of thread!!
Could reach magnifications of over 200x with simple ground lenses - however compound microscopes were mostly of poor quality and could only magnify up to 20-30 times. Hooke claimed they were too difficult to use - his eyesight was poor.
Discovered bacteria, free-living and parasitic microscopic protists, sperm cells, blood cells, microscopic nematodes
In 1673, Leeuwenhoek began writing letters to the Royal Society of London - published in Philosophical Transactions of the Royal Society
In 1680 he was elected a full member of the Royal Society, joining Robert Hooke, Henry Oldenburg, Robert Boyle, Christopher Wren
He wrote over 190 published letters to the Royal Society on his scientific findings
His original specimens are still in the Royal Society Collection in London
1673

## Slide 27: How the first lenses were made

## Slide 28: Antioni van Leeuwenhoek (1632-1723)
1673
"It has been stated by many authors," says Baker ( On Microscopes, vol. ii.), " that the magnifiers used by Leeuwenhoek were globules or spheres of glass, like those invented by Hooke, but such is not the case ; he assures us that in the cabinet of the twenty-six microscopes, left by that famous man at his death to the Royal Society as a legacy, each instrument has a double convex lens, and not a sphere or globule.” p6
" All the parts of these microscopes," says Baker, " are of silver, and fashioned by Mr. Leeuwenhoek's own hand, and the glasses, which are excellent, were all ground and set by himself, each instrument being devoted to one or two objects only, and could be applied to nothing else. This method induced him to make a microscope with a glass adapted to almost every object, till he had got some hundreds of them. The highest magnifying power was 160 diameters, and the lowest 40.” (P7)
Accounts of his lenses

## Slide 29: Antioni van Leeuwenhoek (1632-1723)
1677
“An Extract of a Letter from Monsieur Anthony van Leuwenhock to the Royal Society, Containing the History of the Generation of an Insect, by Him Called, The Wolf. With Observations on Insects Bred in Rain-Water, in Apples, Cheese, etc.”
Philosophical Transactions (1683-1775)
Vol. 18 (1694), pp. 194-200 (9 pages)
Published by: Royal Society

## Slide 30: Antioni van Leeuwenhoek (1632-1723)
1694
“An Extract of a Letter from Monsieur Anthony van Leuwenhock to the Royal Society, Containing the History of the Generation of an Insect, by Him Called, The Wolf. With Observations on Insects Bred in Rain-Water, in Apples, Cheese, etc.”
Philosophical Transactions (1683-1775)
Vol. 18 (1694), pp. 194-200 (9 pages)
Published by: Royal Society

## Slide 31: Stephen Grey’s Water Microscope
Philosophical Transactions (1683-1775)
Vol. 19 (1695 - 1697), pp. 353-356 (6 pages)
Published by: Royal Society
1695

## Slide 32: Guiseppe Campani - 1670-1690
Back: Italian compound microscopes - 1670
Italian Compound microscopes
Back: 1670 (probably Campani)
This microscope was formerly at the University of Bologna - it contains a field lens which was the first optical advance about 1660. Only opaque objects can be viewed.
Front: Guiseppe Campani, Rome - 1690 - Campani was the leading Italian telescope and microscope maker in the late `17th century - he probably invented the screw focusing mechanism shown on this scope - the slide holder in the base allows transparent and opaque objects to be viewed
1690
Photos: © J. Paul Robinson

## Slide 33: Issac Newton (1643-1726)
1672
Philosophical Transactions (1665-1678)
Vol. 7 (1672), pp. 4014-5018 (6 pages)
Published by: Royal Society
Thanks Wiki

## Slide 34: Issac Newton (1643-1726)
1679
In 1672 Newton invented a reflecting compound microscope
Page 784
1858 Edition

## Slide 35: Issac Newton (1643-1726)
In 1668 built the first practical reflecting telescope
In 1687 Newton Published Principia (Laws of Motion)
In 1704, Newton published Opticks, a consolidation of his writings and experiments on light, color, and optics and an exposition on his corpuscular theory of light.
1704
https://simple.wikipedia.org/wiki/Philosophiæ_Naturalis_Principia_Mathematica

## Slide 36: Issac Newton (1643-1726)
1704
https://simple.wikipedia.org/wiki/Philosophiæ_Naturalis_Principia_Mathematica

## Slide 37: Issac Newton (1643-1726)
1672
https://simple.wikipedia.org/wiki/Philosophiæ_Naturalis_Principia_Mathematica
“A Serie's of Quere's Propounded by Mr. Isaac Newton, to be Determin'd by Experiments, Positively and Directly Concluding His New Theory of Light and Colours; and Here Recommended to the Industry of the Lovers of Experimental Philosophy, as they Were Generously Imparted to the Publisher in a Letter of the Said Mr. Newtons of July 8.1672”

## Slide 38: Issac Newton (1643-1726)
1675
“Mr. Isaac Newton's Considerations on the Former Reply; together with Further Directions, How to Make the Experiments Controverted Aright: Written to the Publisher from Cambridge, Novemb. 13. 1675”

## Slide 39: Edmund Culpeper Screwbarrel Microscope - 1720
1720
Photos: © J. Paul Robinson
https://micro.magnet.fsu.edu/primer/museum/culpeper.html
Edmund Culpeper was an apprentice of famous London scientific instrument maker Walter Hayes during the late 1600s to the early 1700s
A concave mirror was inserted below the stage, enabling a specimen to be conveniently lit from below.

## Slide 40: Chester More Hall (1703-1771) The issues between simple and compound microscope
In the 1730s a barrister names Chester More Hall observed that flint glass (newly made glass) dispersed colors much more than “crown glass” (older glass). He designed a system that used a concave lens next to a convex lens which could realign all the colors. This was the first achromatic lens. (designed for telescopes)
1730
Simple microscopes could attain around 2 micron resolution, while the best compound microscopes were limited to around 5 microns because of chromatic aberration
https://en.wikipedia.org/wiki/Chester_Moore_Hall

## Slide 41: Chester More Hall (1703-1771) The issues between simple and compound microscope
1730
https://en.wikipedia.org/wiki/Chester_Moore_Hall
Hall appears to have studies the human eye – perhaps he reviewed Newton’s “Optiks” that had been published a few years before in 1704….
Hall focused his attention on building telescopes – and in 1733 he built telescopes with apertures of 2.5 inches (6.5 cm) and focal lengths of 20 inches (50 cm).
https://www.britannica.com/biography/Chester-Moor-Hall

## Slide 42: Chester More Hall (1703-1771) The issues between simple and compound microscope
1730
Hall sent a request to one glass maker for some flint glass and a request to another glass maker for some crown glass.
It is believed that both glass makers actually sent both orders on to another glass maker George Bass

## Slide 43: George Bass
Hall sent a request to one glass maker for some flint glass and a request to another glass maker for some crown glass. Apparently, he was concerted that if he sent both requests to one glass maker, they would learn his secret.
It is believed that both glass makers actually sent both orders on to George Bass
1740
z”George Bass was an optician known to have made an achromatic doublet around 1733.
The specifications for the lens elements were given by Chester Moore Hall. According to Hoyle,[1] Hall wished to keep his work on the achromatic lenses a secret and contracted the manufacture of the crown and flint lenses to two different opticians, Edward Scarlett and James Mann.[2] They in turn sub-contracted the work to the same person, George Bass. He realized the two components were for the same client and, after fitting the two parts together, noted the achromatic properties. Not being as reticent as Hall, Bass let others know of the lens's properties and the method of making an achromatic doublet spread.”
https://en.wikipedia.org/wiki/George_Bass_(optician)

## Slide 44: John Dollond (1706-1761) The famous patent of 1758
George Bass was the lens-maker that actually made the lenses in about 1733, but he did not divulge the secret until over 20 years later to John Dollond who copied the idea in 1757 and patented the achromatic lens in 1758.
image © J.Paul Robinson
1758
https://micro.magnet.fsu.edu/optics/timeline/people/dollond.html

## Slide 45: John Dollond (1706-1761) The famous patent of 1758
1758
https://micro.magnet.fsu.edu/optics/timeline/people/dollond.html
Eventually Bass was given credit for the invention of the achromatic lens when the story about Bass’ disclosure to Dollond came out..
Making lenses for microscopes are much more difficult than for telescopes – so most of Dollond’s skill was applied to telescope manufacture. The problem was in the manufacture of much smaller lens sets required for microscopy in order to keep the focal distance small

## Slide 46: John Dollond (1706-1761) The famous patent of 1758
1758
https://micro.magnet.fsu.edu/optics/timeline/people/dollond.html
Dollond still won a prestigious award from the Royal Society, known as the Copley Medal – However as noted earlier, it was eventually agreed that Dollond was not the inventor of the achromatic lens despite having a patent!
(Other winners have been Benjamin Franklin, Louis Pasteur, Albert Einstein, Charles Darwin, Stephen Hawking….)

## Slide 47: Secondary Microscopes
George Adams Sr. made many microscopes from about 1740-1790 but he was predominantly just a good manufacturer not inventor (in fact it is thought he was more than a copier!)
“New Improved Compound Microscope, George Adams, 1790
Adams described this instrument in his “Essays on the Microscope” in 1787. The mechanism allowed freedom of movement. The specimen could be viewed in direct light or in light reflected from a large mirror.
© J.Paul Robinson
1763

## Slide 48: George Adams Toymaker to Kings
This microscope made by George Adams, Mathematical Instrument maker to King George III around 1763, It was probably intended for the Prince of Wales, the future King George IV. The instrument is based on the design of the “Universal Double Microscope" (London Museum of Science)
1763
Photos: © J. Paul Robinson

## Slide 49: William Hyde Wollaston (1766-1828)
Although formally trained as a physician, Wollaston studied and made advances in many scientific fields, including chemistry, physics, botany, crystallography, optics, astronomy and mineralogy. He is particularly noted for originating several inventions in optics, including the Wollaston prism that is fundamentally important to interferometry and differential interference (DIC) contrast microscopy.
He discovered the elements palladium (symbol Pd) in 1803 and rhodium (symbol Rh) in 1804. Wollaston became Secretary of the Royal Society in 1806, and president from, 18210-1828
1812
A Wollaston prism separates light into two separate linearly polarized outgoing beams with orthogonal polarization. The two beams will be polarized according to the optical axis of the two right angle prisms.

## Slide 50: William Hyde Wollaston (1766-1828) Camera lucida
1807
Encyclopedia Britanica, Vol XIV, 1858, P795
In 1807, Wollaston developed a version of the camera lucida, which would eventually lead to Fox Talbot's discoveries in photography.
The camera lucida largely consisted of a four-sided prism (the Wollaston prism)

## Slide 51: William Hyde Wollaston (1766-1828) Microscopic Doublet
1828
Encyclopedia Britanica, Vol XIV, 1858, P795
Note: This paper referred to above was published a few months after Wollaston died.

## Slide 52: David Brewster 1781-1868
For a glass medium (n2 ≈ 1.5) in air (n1 ≈ 1), Brewster's angle for visible light is approximately 56°, while for an air-water interface (n2 ≈ 1.33), it is approximately 53°. Since the refractive index for a given medium changes depending on the wavelength of light, Brewster's angle will also vary with wavelength.
1815
As a point if interest, Sir David Brewster was the editor of the microscopy section of the Encyclopedia Britanica 1858 edition, so many of the suggestions about how wonderful the inventions were of “Sir David Brewster” is not surprising!!
Thanks Wiki

## Slide 53: Sir David Brewster, Feb 11, 1815 “Brewster’s Angle”
1815
Thanks Wiki

## Slide 54: Sir David Brewster Monochromatic Light Microscope
add salt
alcohol here
Brewster proposed a single line” light source that meant that one did not need to deal with achromatic compensation as there in none! Using an alcohol lamp and adding salt crystals to the flame, he was able to get single red lines for perfect imaging! Not quite a laser, but as close as once could get in about 1850!!

## Slide 55: Encyclopedia Britanica, Vol XIV, 1858
Sir David Brewster happened to be the editor of the microscopy section of Encyclopedia Britanica. All the articles seemed to say very good things about his inventions..!

## Slide 56: Giovanni Battista Amici (“water immersion”)
In 1827 Giovanni Battista Amici, built high quality microscopes and introduced the first matched achromatic microscope in 1827. He had previously (1813) designed “reflecting microscopes” using curved mirrors rather than lenses. He recognized the importance of coverslip thickness and developed the concept of “water immersion”
© J.Paul Robinson
© J.Paul Robinson
1827

## Slide 57: Color Correcting Lenses Encyclopedia Britanica, Vol XIV, 1858
P779

## Slide 58: Joseph Lister (Spherical Aberration )
In 1830, by Joseph Jackson Lister (father of Lord Joseph Lister who was a famous surgeon in London) solved the problem of Spherical Aberration - caused by light passing through different parts of the same lens. He solved it mathematically and published this in the Philosophical Transactions in 1830
© J.Paul Robinson
Joseph Lister
1830
Photos: © J. Paul Robinson
Photos: © J. Paul Robinson

## Slide 59: Joseph Lister (Spherical Aberration )
In 1830, by Joseph Jackson Lister (father of Lord Joseph Lister) solved the problem of Spherical Aberration - caused by light passing through different parts of the same lens. He solved it mathematically and published this in the Philosophical Transactions in 1830, P 199
© J.Paul Robinson
1830
Excerpt from Encyclopedia Britanica, Volume XIV,1858, P778

## Slide 60: Henri Hureau de Sénarmont (1808-1862) (Polarized light)
Henri Hureau de Sénarmont (1808-1862)
Sénarmont was a professor of mineralogy and director of studies at the École des Mines in Paris, especially distinguished for his research on polarization and his studies on the artificial formation of minerals. He also contributed to the Geological Survey of France by preparing geological maps and essays.
Perhaps the most significant contribution made by de Sénarmont to optics was the polarized light retardation compensator bearing his name, which is still widely utilized today
1830
Image source: http://micro.magnet.fsu.edu/optics/timeline/people/senarmont.html

## Slide 61: Henri Hureau de Sénarmont (1808-1862) (Polarized light)
1830
Image source: http://micro.magnet.fsu.edu/optics/timeline/people/senarmont.html
The de Sénarmont compensator couples a highly precise quarter wavelength birefringent quartz or mica crystalline plate with a 180-degree rotating analyzer to provide retardation measurements having an accuracy that approaches one thousandth of a wavelength or less.
Much of our knowledge of mineral structure was derived by Senarmont who worked closely with Augustin Fresnel

## Slide 62: Carl Zeiss 1816-1888 (Oil Immersion)
Carl Zeiss opens his workshop in Jana, Germany to make eyeglasses and microscopes for the University in 1846
Abbe and Zeiss developed oil immersion systems by making oils that matched the refractive index of glass. Thus they were able to make the Numeric Aperture (N.A.) to the maximum of 1.4 allowing light microscopes to resolve two points distanced only 0.2 microns apart (the theoretical maximum resolution of visible light microscopes). Leitz was also making microscope at this time.
1846
Zeiss student microscope 1880
(Photos by JPR taken in the Zeiss Museum in Jena)

## Slide 63: Pasteur - 1860
Louis Pasteur – his microscope was made in Paris by Nachet in about 1860 and was made of brass
1860
Photo: © J. Paul Robinson
Photos: taken in London
Science Museum by J. Paul Robinson

## Slide 64: Ernst Abbe (1840-1905) & Zeiss
Ernst Abbe joined Zeiss (Jena), developedAbbe sine condition optics, improved optics significantly
1877
Abbe was the first to define the term numerical aperture, as the sine of the half angle multiplied by the refractive index of the medium filling the space between the cover glass and front lens.
In 1876, Abbe was offered a partnership by Zeiss and began to share in the considerable profits.
In 1878, he built the first homogenous immersion system for the microscope
In 1886 he invented the apochromatic lens, a microscope lens which eliminates both the primary and secondary color distortion
By 1870, Abbe invented the Abbe condenser, used for microscope illumination
In 1871, he designed the first refractometer, which he described in a booklet published in 1874
Jena

## Slide 65: Ernst Abbe (1840-1905) & Zeiss
Ernst Abbe together with Carl Zeiss published a paper in 1877 defining the physical laws that determined resolving distance of an objective. Known as Abbe’s Law
“minimum resolving distance (d) is related to the wavelength of light (lambda) divided by the Numeric Aperture, which is proportional to the angle of the light cone (theta) formed by a point on the object, to the objective”.
“The impetus for the emergence into the industrial age was given by Ernst Abbe (appointed Associate Professor in 1870), who, while still in his early 30s, developed his theory of microscope image formation, which took into consideration the familiar phenomenon of diffraction, and thus made the leap in microscope construction from trial and error to methodical design. He was given this commission by a university mechanic, Carl Zeiss, who had been steadily perfecting the construction of optical equipment in his private workshops. Otto Schott, who received his doctorate at Jena in 1875, was the third to enter into this alliance by founding, at Abbe’s urging, a "Laboratory for Glass Technology" in 1884, to produce the highly pure special lenses for Zeiss’s microscopes and optical equipment. Humboldt’s pupil Matthias Jakob Schleiden, Professor of Botany and famous for his cell theory, encouraged -- and later benefited from -- this process, which was to prove exemplary in German economic history.”
http://www.uni-jena.de/History-lang-en.html
1877

## Slide 66: Abbe & Zeiss
Abbe and Zeiss developed oil immersion systems by making oils that matched the refractive index of glass. Thus they were able to make the a Numeric Aperture (N.A.) to the maximum of 1.4 allowing light microscopes to resolve two points distanced only 0.2 microns apart (the theoretical maximum resolution of visible light microscopes).
Leitz was also making microscope at this time.
Paul Rudolph of Zeiss Jena, develops Tessar high resolution & contrast lens; 4 elements in 3 groups 1902
Zeiss student microscope 1880
1880
Photo: © J. Paul Robinson

## Slide 67
Ernst Abbe memorial in Jena, Germany
1880
Photos: © J. Paul Robinson
Photos: © J. Paul Robinson
Photos: © J. Paul Robinson
2005

## Slide 68: Abbe’s Sine Condition (1881)
1881

## Slide 69: Ernst Abbe (1840-1905)
Abbe Number (or V Number) - The value (often symbolized by the Greek letter n or the letter V) expressing the dispersion of an optical medium, which is directly proportional to the chromatic quality of a lens. Its value is given by the expression:
V = n = (nd - 1)/(nF - nc)
Where n(d), n(F) and n(c) are the refractive indices pertaining to the wavelengths of the Fraunhofer lines 587.6, 486.1, and 656.3 nanometers respectively. The Abbe number of a glass mixture is carefully monitored and controlled by manufacturers to achieve target dispersion values, which usually range between 20 and 60. A typical plot of Abbe number versus refractive index is presented in the figure below. The glass map is subdivided into regions that represent various types of glass.
1900

## Slide 70: Ernst Abbe (1840-1905)
In 1889, the year after Zeiss’ Death, Abbe set and endowed the Carl Zeiss Foundation
In 1900, Abbe introduced the eight-hour workday to the Zeiss Company
In addition, he created a pension fund and a discharge compensation fund
A crater on the moon is named after Abbe
1900
Oblique view of Abbe, facing west. Lunar Orbiter 5 image.
https://wikimili.com/en/Abbe_%28crater%29

## Slide 71: Otto Schott (1851-1935)
Otto Schott, who received his doctorate at Jena in 1875, was the third to enter into this alliance by founding, at Abbe’s urging, a "Laboratory for Glass Technology" in 1884, to produce the highly pure special lenses for Zeiss’s microscopes and optical equipment.
Otto Schott joined Abbe and Zeiss in 1884, and produced glass equal to Abbe’s work Apochromatic lens, 1886
Dr Otto Schott formulated glass lenses that color-corrected objectives and produced the first “apochromatic” objectives in 1886.
Between 1887 and 1893, Schott developed borosilicate glass, distinguished for its high tolerance to heat and a substantial resistance to sudden changes in temperature and exposure to chemicals.
1886
https://micro.magnet.fsu.edu/optics/timeline/people/schott.html

## Slide 72: August Karl Johann Valentin Köhler (1866-1948)
Early 20th Century Professor Köhler developed the method of illumination still called “Köhler Illumination”
In 1900, he was invited to join the Zeiss Optical Works company in Jena, Germany, by Siegfried Czapski based on his earlier work on improving microscope illumination. He stayed with Zeiss as a physicist for 45 years and became instrumental to the development of modern light microscope design.
Köhler recognized that using shorter wavelength light (UV) could improve resolution
The driving force for Köhler’s even illumunation invention was the use of gas lamps and similar uneven light sources that created serious problems in trying to gain even and constant illumination
Image source: http://en.wikipedia.org/wiki/File:August_Koehler.jpg
1900

## Slide 73: August Köhler
Köhler illumination creates an evenly illuminated field of view while illuminating the specimen with a very wide cone of light
Two conjugate image planes are formed
  one contains an image of the specimen and the other the filament from the light
He filed an application for a fixed-ocular microscope of his design in Germany on April 16, 1924 and with the United States Patent Office on March 31, 1925 (patent number 1649068)
1900

## Slide 74: August Kohler -1904 First Ultraviolet Imaging
A. Kohler, Mikrophotographische Untersuchungen mit ultraviolettem Licht, Z. Wiss. Mikroskopie 21, 1904
A. Kohler 1904
Salamander maculosa larva epidermal cells - 1300 X
275 nm
280 nm
1900

## Slide 75: Köhler Illumination
Specimen
Field stop
Field iris
Conjugate planes for illuminating rays
Specimen
Field stop
Field iris
Conjugate planes for image-forming rays
condenser
eyepiece
retina
1900
Köhler illumination creates an evenly illuminated field of view while illuminating the specimen with a very wide cone of light
Two conjugate image planes are formed
  one contains an image of the specimen and the other the filament from the light
Try this tutorial: https://www.microscopyu.com/tutorials/kohler

## Slide 76: Feulgen Reaction 1924
R. Feulgen & H. Rossenback, Microskopisch-chemischer Nachweis einer Nucleinsaure von
Typus der Thymonucleinsaure und auf die darauf berunhende elektive Farbung von
Zellkernen in mikroskopischen Präparaten, Hoppe Seyler Z. Physiol. Chem. 135, 1924
Schema of formation of Schiff Reagent from Pararosanilin and its reaction with aldehydes to form colored products
After Wieland and Scheuing (1921)
Shortened from Kasten (1960)
1924
Demonstrated that DNA was present in both animal and plant cell nuclei - developed a stoichiometric procedure for staining DNA involving a derivatizing dye, (fuchsin) to a Schiff base

## Slide 77: Conn’s Biological Stains - First Published in 1925
1925
The most comprehensive documentation of biological stains
(still available today)
Was available from Sigma until a few years ago when they discontinued it!

## Slide 78: UV Measurements of DNA and Cytoplasm T. Caspersson 1936
Uber den chemischen Aufbau der Strukturen des Zellkernes, Skand. Arch. Physiol. 73, 1936
Ultraviolet absorption measurements of
a grasshopper metaphase chromosome
Densitometer traces across
a region of the chromosome
Cytoplasmic absorption
Background
signal
Extinction values for chromosome and cytoplasm plotted against wavelength
Chromosomal absorption
1936

## Slide 79: Early Microfluorometric Scanner Robert Mellors 1951
RC Mellors & R. Silver, A microfluorometric scanner for the differential detection of cells: application to exfoliative cytology, Science 104, 1951
1951

## Slide 80: Georges Nomarski (1919-1997)
Georges Nomarski (1919-1997) - A Polish born physicist and optics theoretician, Georges Nomarski adopted France as his home after World War II. Nomarski is credited with numerous inventions and patents, including a major contribution to the well-known differential interference contrast (DIC) microscopy technique.
The modifications Nomarski made to the Wollaston prism during the 1950s are still of significant consequence.
Also referred to as Nomarski interference contrast (NIC), the method is widely used to study live biological specimens and unstained tissues.
Additional Information and Image from:
http://micro.magnet.fsu.edu/optics/timeline/people/nomarski.html
1953
https://en.wikipedia.org/wiki/Nomarski_prism
The first prism is identical to Wollaston Prism. The second wedge of the prism is modified by cutting the crystal so that the optical axis is oriented obliquely with respect to the flat surface of the prism. The Nomarski modification causes the light rays to come to a focal point outside the body of the prism, and allows greater flexibility so that when setting up the microscope the prism can be actively focused.

## Slide 81: Georges Nomarski (1919-1997)
1953

## Slide 82: Marvin Lee Minsky (1927-2016) First disclosed the confocal microscope principle - 1953
1953
Minsky’s prototype
Data from Patents database
https://en.wikipedia.org/wiki/Marvin_Minsky

## Slide 83: Cytometry Analytic Techniques M.R. Mendelsohn 1958
The Two-Wavelength Method of Microspectrophotometry
J. Biophys. Biochem Cytol. 4, 1958
1958

## Slide 84: Character Recognition and the beginning of cancer recognition
LA Kamentsky & CN Liu, Computer-automated design of multifont print recognition
logic, IBM J. Research & Development 7, 1963
Dr. Kamentsky
1963

## Slide 85: Kamenstsky’s work at IBM and Character recognition

## Slide 86: Kamenstky explains how IBM became involved with pathology

## Slide 87: Relating Cytometry to Pathology O. Caspersson 1964
Quantitative cytochemical studies on normal, malignant, premalignant and atypical cell populations from the human uterine cervix, Acta Cytologica 8, 1964
Frequency distribution of DNA content
Cells from a normal cervix
Cells from a cervical carcinoma
Premalignant cells from the epithelium
1963

## Slide 88: Visible & UV Scanning - 1963
Brightfield Image
UV Images
Dr. Melamed
Dr. Koss
Dr. Kamentsky
1963
Slide kindly supplied by Compucyte

## Slide 89: UV Scanning - Measurements
Ultraviolet Absorption in Epidermoid Cancer Cells LA Kamentsky, H. Derman, & MR Melamed, Science 142, 1963
Normal Cells
Cancer Cells
Dr. Kamentsky
1963

## Slide 90: Johan Sebastiaan (Bas) Ploem
For his contributions to the practice of microscopy, Ploem has received various honors. He was elected as a fellow of the Papanicolaou Cancer Research Institute in 1977 and was a recipient of the C. E. Alken Foundation award in 1982. He is also a member of the Society of Analytical Cytology, the Dutch Society of Cytology, the International Academy of Cytology and the Royal Microscopical Society, for which he served as president in 1986. In 1993, he became an Honorary Fellow of the International Society for Analytical Cytology
An epi-illumination cube used in fluorescence microscopy. Ploem's vertical illuminator bears his name and is commonly used today.
Liver tissue. Nuclei stained with Feulgen-pararosaniline for DNA. Epi-illumination with narrow band green light (546nm) and a dichroic beam splitter for reflecting green light. Probably the first example of microscope excitation with green light (Ploem, 1965). Note large image contrast
Image from wikimedia.org
Image from micro.magnet.fsu.edu
Leitz PLOEMOPAK illuminator
Epi-illumination
1965

## Slide 91: Robert Day Allen (1927-1986)
Robert Day Allen (1927-1986) - Robert Day Allen was a renowned microscopist, a prominent researcher of cell motility processes, and a co-developer of video-enhanced contrast microscopy ((VEC)), which is a modification of the traditional form of differential interference contrast (DIC) microscopy. Along with Georges Nomarski and G. B. David, Allen assisted the Carl Zeiss Optical Company in developing a Nomarski differential interference microscope for transmitted light applications. In a hallmark paper published in Zeitschrift für wissenschaftliche Mikroskopie und mikroskopische Technik, Allen and his colleagues defined the basic principles of the DIC technique and the interpretation of images.
Rebhun LI. Robert Day Allen (1927-1986): an appreciation. Cell Motil Cytoskeleton. 1986;6(3):249-55
More information at: (Image reproduced from below URL)
http://micro.magnet.fsu.edu/optics/timeline/people/dayallen.html
1966

## Slide 92: Historical Overview
Marylou Ingram – 1950-60’s - identified that radiation caused increase number of binucleated lymphocytes in peripheral blood - she used a scanner to detect these rare cells (1/10000)

## Slide 93: Marylou Ingram
CYTO2010 Congress, Seattle, WA, 2010

## Slide 94: Marylou Ingram and Automated Imaging
Marylou Ingram - 1960’s - identified that radiation caused increase number of binucleated lymphocytes in peripheral blood - she used a scanner to detect these rare cells (1/10000)
Preston 1964, Cytoanalyzer was designed to identify Ingram’s rare cells using a Vidicon based system - digitized images of lymphocytes were produced stained with eosin-methylene azure dye combinations.
References: "Preparation of Cytologic Material for Automatic Scanning Machines" J.C.Pruitt, Ingraham, S.C.; Kaiser, R.F.; and Hilberg, A.W. – J. Nat. Cancer Inst. 22; 1105-1117, 1959
"Field Trial of the Cytoanalyzer; 1186 Specimens Analyzed" J.C.Pruitt, Courtney, W.B.; Hilberg, A.W.; Ingraham, S.C.; Kaiser, R.F. and Houser, M.H. J. Nat. Cancer Inst. 24; 1167-1179, 1960
“Importance of automatic pattern recognition techniques in the early detection of altered blood cell production”; Ingram, M. & Prestin, K.; Annals of the New York Academy of Sciences 113:1066-1072, 1964

## Slide 95
1966

## Slide 96: Young & Roberts, 1952
Flying spot” microscope based on a scanned spot on the surface of an oscilloscope tube as the illuminant in an image plane of a microscope and a photocell positioned to capture all the light that entered the eyepiece as the detector
Reference: Young, J.Z., Roberts, F., 1951. A flying spot microscope. Nature 167, 231.

## Slide 97: Confocal Microscope -1986-1988
Image from Biology of the Cell 95 (2003) 335–342
MRC Laboratory of Molecular Biology in Cambridge in 1986
1986
https://www2.mrc-lmb.cam.ac.uk/brad-amos-john-white-win-abrf-biomolecular-technologies-award/

## Slide 98: Brad Amos photo of 2 photon fluorescence
https://www2.mrc-lmb.cam.ac.uk/group-leaders/emeritus/brad-amos/
https://www2.mrc-lmb.cam.ac.uk/brad-amos-elected-honorary-fellow-of-the-royal-microscopical-society/
Honorary Fellow of the Royal Microscopical Society (RMS)

## Slide 99
Laser Scanning Cytometer
Laser Scanning Cytometry – 1990 Kamentsky
Dr. Kamentsky
1990

## Slide 100
Laser Scanning Cytometry
P27 in Prostate Tissue
Quantification of total γH2AX
expression & foci count
Untreated
Treated
Drug-induced apoptosis results in changes to cell morphology
The iCyte Automated Imaging Cytometer was designed for automated analysis. With no microscope oculars or viewing optics, it relied on laser scan imaging to visualize cells during analysis. Further, it had an auto-focus capability that makes walk-away operation a possibility. An optional robotic autoloader was available.
Notes: The iCyte Automated Imaging Cytometer is designed for automated analysis. With no microscope oculars or viewing optics, it relies on laser scan imaging to visualize cells during analysis. Further, iCyte has an auto-focus capability that makes walk-away operation a possibility. An optional robotic autoloader is available.

## Slide 101: Other Microscopies
“..activated state of a photo-switchable molecule must lead to the consecutive emission of sufficient photons to enable precise localization before it enters a dark state or becomes deactivated by photobleaching.”
Stochastic Optical Reconstruction Microscopy (STORM) Imaging
https://www.microscopyu.com/tutorials/stochastic-optical-reconstruction-microscopy-storm-imaging
Successive pulses of light activate photosensitive probes and the network is built up as an image
Pulse
Fluorescence
Image

## Slide 102: Commercial Super Resolution Systems
https://www.microscope.healthcare.nikon.com/solutions/life-sciences/nano-scale-imaging

## Slide 103: Commercial Super Resolution Systems
https://www.olympus-lifescience.com/en/

## Slide 104: Commercial Super Resolution Systems
https://www.leica-microsystems.com/

## Slide 105: Commercial Super Resolution Systems
https://www.zeiss.com/microscopy/en/products/light-microscopes/super-resolution-microscopes.html

## Slide 106: Commercial Super Resolution Systems
https://oni.bio/

## Slide 107: Conclusion
Microscopes have developed over the past 400 years
Achromatic aberration, spherical aberration were key discoveries
Köhler illumination enabled microscopy for 100 years
Refraction, absorption, dispersion, diffraction, magnification are key concepts
Upright and inverted microscopes differ
Optical Designs - 160 mm and infinity optics were developed to deal with advances in users needs
The most advanced microscopes of today have a direct lineage to the discoveries outlined in this series of lectures